---------MATERIAL SAFETY DATA SHEET ---------

1. IDENTIFICATION

Commercial name: QBISS by TRIMO Specification: Building insulation sandwich panels composed from cold rolled, zinc-coated and colour pre-painted thin metal sheet, polyurethane glue and mineral (stone) wool. Uses: Insulated Cladding for Industrial and Commercial Buildings. Product tariff number: 7308 90 510 Producer / supplier Address: TRIMO, Prijatljeva 12, 8210 Trebnje, Slovenija. Tel.: ++386 7 3460 200 Fax: ++386 7 3044 569 Email: trimo(trimo.si Website: http://www.trimo.si

2. COMPOSITION / INFORMATION ON INGRADIENTS

Specification: Building insulation sandwich panels composed from cold rolled, zinc-coated and colour pre-painted thin metal sheets, polyurethane glue and mineral (stone) wool. 1. Trimetoksi(metil)silan EC No: Not Applicable CAS No: 1185-55-3 INDEX No: Not Applicable CONC. ppw < 2,6 % R Phrases: R11 ,R11 S Phrases: Not Applicable 2 Ethyl Cyanoacrylate EC No: Not Applicable CAS No: Not Applicable INDEX No: Not Applicable CONC. ppw < 60 % R Phrases: R 36/37/38 S Phrases: Not Applicable

3. HAZARDS IDENTIFICATION

Main Hazards: Does not contain unhealthy / dangerous substances for human or the environment. Inhalation - In normal use, it does not present a health hazard and the insulation core is non-toxic unless subject to an ignition source (e.g. cutting with abrasive wheels or involved in a fire) which could produce fumes containing carbon monoxide, hydrogen chloride, hydrogen fluoride, oxides of iron and zinc and other products or decomposition which possibly could be toxic if inhaled. Handling – Risk of laceration when handling product. May also result in injury from incorrect lifting techniques.

4. FIRST AID MEASURES

General Directions: It is necessary to consider general directions during the handling and fabrication of the sandwich panels. Inhalation: There is no danger. Skin contact: Wash skin thoroughly with soap and water or use a proprietary skin cleaner. Eyes / mouth contact: Irrigate copiously with clean fresh water for at least ten minutes, holding the eyelids apart. Ingestion: There is no danger.

5. FIRE FIGHTING MEASURES

Product is resistant to fire and radiated heat, as panel has good fire resistance (EI 30 to 180, REI 90 after EN 1364-1,1364-2). Fire Fighting: All types of extinguisher are effective. Persons who extinguish fire must wear protective respiratory equipment with special air leading and chemical protecting clothes.

6. ACCIDENTAL RELEASE MEASURES

Personal precaution in spillage: Not Applicable, the product is a solid. Environmental protecting measures: The product is a solid, there is no danger to the environment identified. Cleaning steps at accidental spillage: The product is a solid, this is not applicable.

7. HANDLING AND STORAGE

General instructions: Handling: Where possible, mechanical lifting aid should be used. If this is not possible, kinetic lifting techniques must be used. There is also a risk of laceration therefore cut resistant gloves must be worn. Avoid inhalation of dust when cutting with mechanical tools, this should be achieved by the use of local exhaust ventilation and good general ventilation. If this is not sufficient, suitable respiratory protection must be worn (FFP2) as the core has a Maximum Exposure Limit (MEL) of 5mg/m3 , 8 hour Time Weighted Average (TWA). Do not use flame cutting equipment, blowlamps etc., on or near the panels. Storing: Product can be stored freely in the original packing. Directives for fire and explosion protection: Special precautions are not necessary. Conditions for safe storage: No special cautions.

8. EXPOSURE CONTROLS – PERSONAL PROTECTION

Technical protection measures: Not Applicable Personal protecting means: Not Applicable General safety and sanitary measures: Not Applicable Respiratory protection: Not Applicable unless cutting in confined space then FFP2 Respiratory protection must be worn. Hand protection: Cut Resistance Gloves to be worn whilst handling. Eye protection: Eye protection should be used whilst cutting as swarf may be produced. Body protection: Safety boots and protective clothes

9. PHYSICAL AND CHEMICAL PROPERTIES

LOOKS: in solid form COLOUR: different colour shade SMELL: not expressive PH: Not Applicable BOILING POINT: Not Applicable FLAME: Not Applicable FIRE: Not Applicable EXPLOSIVE LIMIT: Not Applicable PRESSURE: Not Applicable RELATIVE DENSITY: Not Applicable WATER DISSOLUATION: Not Applicable VISCOSITY: Not Applicable

10. STABILITY AND REACTIVITY

All insulated materials are in solid form.

11. TOXICOLOGICAL INFORMATION

Acute toxicology: Not Applicable Over sensibility: Not Applicable Reproductive toxicology Not Applicable Extreme toxicology Not Applicable Ascertaining on human being Not Applicable

12. ECOLOGICAL INFORMATION

General directions: Not Applicable

13. DISPOSAL CONSIDERATION

We must consider local and state legislation. Product is recyclable.

14. TRANSPORT INFORMATION

According to the transportation product is not classified among the dangerous substances. Make sure that the product is securely fastened while in transportation

15. REGULATORY INFORMATION

INDEX-No.: 650-016-00-2 Classification: - Designation: - Symbols: - R phrases: - S phrases: - According to EU Directives, designation of bonded (polymerised) stone wool products is not mandatory.

16.OTHER INFORMATION

This product should not be used for any other purpose, other than those stated on the technical data sheet without first referring to the supplier and obtaining written handling instructions. Additional information you can get from TRIMO

The information contained in this data sheet is based on the present state of knowledge and current national legislation as extracted from the supplier / manufacturer’s material safety data sheet. It provides guidance on health, safety and environmental aspects of the product and should not be construed as any guarantee of technical performance or suitability for particular applications.

As the specific conditions of use of this product are outside the supplier’s control, the user is responsible for ensuring the requirements of relevant legislation are complied with.